## Slide 1
YAXLEY AIS Vs GIS
July 2025

## Slide 2
Elevations
Conrad
R8
400kV
132kV

## Slide 3
400kV GIS
National Grid Planning Statement Quote

## Slide 4
GIS Building

## Slide 5
400kV AIS

## Slide 6
132kV GIS

## Slide 7
R8 Plan
We have (approximately) shaded red the elements which would be housed indoors if we designed the project as GIS opposed to AIS.
We would expect the area shaded red to be reduced by around 40% if this was a GIS solution. The building height could be as large as 15-16m high if GIS is opted for. We would usually only opt for GIS when space is tight.